## Slide 1
Santisteban et al. J. Appl. Cryst. (2001). 34, 289-297
to: edge position
σ: Gaussian broadening (sample and instrumental setup)
α: Decay constant, characteristic property of the moderator (geometry and temperature).
A1 = Offset
A2 = Height
Simple fitting function
Santisteban et al. J. Appl. Cryst. (2001). 34, 289-297
to: edge position
σ: Gaussian broadening (sample and instrumental setup)
α: Decay constant, characteristic property of the moderator (geometry and temperature).
Linear function of before and after bragg-edge

## Slide 2
Estimation of A1 to A6
Linear fit on the lines before/after bragg edge slope of first line;A2, second;A5.
A6 can be approximately estimated by , X=rough position of edge, I=edge intensity.
A1 can be estimated by intercept of the first or send line from linear fit or Intercept+A2*A6
Fitting algorithm
A1 and A6
A2 and A5
d, , alpha
A1, A2, A5, A6
d, , alpha
all